## Sheet1
文件名 | 中文 | 英文
图片4 | 云数据库RDS | JCS for RDS
| 数据同步 | Data Synchronization
| MariaDB主从实例 | MariaDB Primary/Secondary Instance
| 写数据 | Write Data
| 读数据 | Read Data
| 云主机 | Virtual Machine
| 网站服务 | Web Service
| 负载均衡 | Load Balancer
| 访问 | Access
JX-WPX25-0.55/26000-40/700
DN700
PN10
HG/T20592(A)-2009
WN
RF
180mm
DN700
PN10
HG/T20592(A)-2009
RF
WN
180mm
Q/JB003-2013
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
Q/JB003-2013
Chengdu Jie Xiang mechanical equipment Co., Ltd.
GB912-2008`
GB/T6728-2002
Q/JB003-2013`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
JB/T4746-2002
GB912-2008`
GB912-2008`
GB912-2008
GB912-2008`
GB912-2008`
Φ711x9.53
180mm
RF
WN
same
HG/T20592(A)-2009
PN10
DN700
GB912-2008`
Φ711x9.53
180mm
WN
RF
GB912-2008`
HG/T20592(A)-2009
PN10
DN700
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB912-2008`
GB/T6728-2002
Q/JB003-2013`
GB912-2008`
JX-WPX25-0.55/26000-40/700
GB912-2008`
JB/T4746-2002
CLIENT
GB912-2008
same
CONTRACTOR
25dB（A）
SUB-CONTRACTOR
DN700（HG/T20592-2009）
TITLE
＜500Pa
SUCTION SILENCER(S102)DRAWING
25dB（A）
DATE
NAME
1ST ANGLE PROJECTION
SCALE
DN700（HG/T20592-2009）
DESIGN
REF.DWG. NO
FILE NO
CHECKED
＜500Pa
REV.
DWG. NO
REVIEWED
JX-WPX25-0.55/26000-40/700
SD01-EM-100-601
Reviewed by
Checked by
Designed by
Approved by
Rev.
Date
Revisions description
APPROVED